## Slide 1: Findings and Recommendations OLUG 2012 workshop
OLUG Workshop, 25-27 April, 2012
Post OLUG workshop notes (April 28, 2012):
- these are the slides that I used on Friday morning for the F and R discussion
- in slides 6 and 7 I have proposed assignments for people to follow up on the
F and R of this workshop
- in slide 8 I have added notes to document the issues that came up during the
Friday morning discussion session. Please, amend and correct as you see it fit
- in slide 9 I have added the issues brought up in the Thursday afternoon session
that were not included in the F and R discussed on Friday morning. Please,
amend and correct as you see it fit.

## Slide 2
Thank you for the seriousness and
responsiveness with which the facility takes
OLUG findings and recommendations
In particular, we appreciate the hiring of
Chuck Sorce and his team to help and
provide support to users with diagnostics

## Slide 3
Status of findings and recommendations from
OLUG 2011 Workshop
Bringing OMEGA-EP performance up to full specifications, and 4-ω probe utilization,
Louis Willingale
Good progress has been done; we look forward to the completion of this project
Long pulse operations of OMEGA-EP, Mingsheng Wei
We recommend going forward with this project
Independent operations of the three legs of OMEGA, Carolyn Kuranz
Work is in progress ; we look forward to the completion of this project
Dual foci for the OMEGA facility, Peter Norreys
This project is complete, thank you!

## Slide 4
Status of findings and recommendations from
OLUG 2011 Workshop
Developing implosion capabilities at OMEGA with arbitrary fuel mixtures of tritium
for advancing plasma nuclear science, Dennis McNabb
We endorse going forward with this recommendation
An ultra-low charged-particle spectrometer for studying nucleo-synthesis reactions
in OMEGA implosions, Alex Zylstra
Work is in progress ; we look forward to the completion of this project
Utilization of Thomson parabola on OMEGA for characterizing implosion ion-loss channels
and for studying nucleo-synthesis reactions in OMEGA implosions, Nareg Sinenian
This project is complete, thank you!
γ-ray spectrometry for plasma nuclear science and implosion physics, Hans Hermann
We endorse going forward with this recommendation

## Slide 5
Status of findings and recommendations from
OLUG 2011 Workshop
A low energy neutron spectrometer for plasma nuclear science and implosion physics,
Maria Gatu Johnson
Work is in progress ; we look forward to the completion of this project
Developing magnetic inertial fusion platforms for basic science and implosion physics,
Gennady Fiksel
  We are impressed with the upgrade of MIFEDS
We endorse going forward with the upgrade of MIFEDS
Cu Kα crystal imaging on OMEGA-EP for HED physics, Hye-Sook Park
This project is complete, thank you!

## Slide 6
Findings and recommendations of OLUG 2012 Workshop
Proposed assignments in red
Regarding shot-request-forms (SRF) (Tammy Ma):
  include information on diagnostic setup/configuration details in the hdf-format
  image data files
  include “flags” or “warnings” for diagnostic setups in a given TIM that
  require additional setup or use of another TIM
  include a post-shot comment box to document specific/unusual shot details
We support the implementation of the PI portal
OMEGA users’ find the NLUF Users’ Guide very useful, please keep it up-to-date
We recommend to improve the flow of information and communication between
OMEGA and OMEGA-EP systems for joint OMEGA/OMEGA-EP shots (Hui Chen)
Some shot information is given to PI in hardcopies, e.g. framing and streak camera timing,
and neutron diagnostics information; we recommend to file it electronically so that users
have access to it online (Mark Koepke)

## Slide 7
Findings and recommendations of OLUG 2012 Workshop
Proposed assignments in red
We recommend the implementation of the x-ray high-spectral resolution, imaging
spectrometers diagnostics proposed by Ken Hill (Roberto Mancini and Ken Hill)
We recommend the implementation of a foreground illumination for the target viewing
system (Sean Regan and Carolyn Kuranz)
We recommend the implementation of a UV imaging Thomson scattering diagnostic
(Carolyn Kuranz)
We recommend developing the capability of relative beam delays within a driver
(Jim Cobble)
The users have found the facility posters presented for the first time in this workshop
very informative and useful.
We recommend that facility posters become a standard feature of the OLUG workshop.

## Slide 8
Notes from Friday morning discussion
Sam Morse: a beta-version of the PI portal is available online for review
Sean Regan: it would be useful to have an imaging x-ray Thomson scattering
spectrometer. This would be in addition to the recent instrument jointly
developed by LANL-Michigan. Need to check with Sean regarding details
and specs. We can add this request to our list of F and R and ask Sean to
follow up on it.
David Meyerhofer: what specific information regarding the diagnostic set up you
would like to see included in the hdf-format image data file that
you download from the website after the shot
David Meyerhofer: consider recommendations and requests of a long term nature,
and along the lines of significant/large projects and “big-ideas”
David Meyerhofer: where in the SRF should the post-shot comment box be added?
David Meyerhofer: LLE endorses and will go ahead with the opposing beam configuration
for OMEGA-EP

## Slide 9
Issues brought up on Thursday afternoon but
not included on the Friday morning discussion
Idea discussed by Nino Landen regarding stacking up MCP’s back-to-back in order to
improve framing and streak camera efficiency and gain. He presented it as something
to think about.
Lu Fletcher requested additional CCD detectors, in particular for OMEGA-EP.
Nathan discussed the problem associated with the current manufacturer of
radiochromic film no longer fabricating it and possible alternatives.
Mingsheng Wei mentioned the idea of intermediate energy pulses in OMEGA-EP.
Student/postdoc panel would like to have in future workshops a session dedicated
to a discussion on how to write successful NLUF and LBS proposals.
There was a discussion about the idea of being able to import into the Powell Scope
Software that controls the system that performs the target positioning and
alignment procedure the VISRAD file produced by the user who did the design of the
experiment.