## Slide 1: Signatures of Systematic Azimuthal Asymmetry in Nuclear Diagnosis of ICF Implosions on the NIF
H. G. Rinderknecht
Hotspot velocity (km/s)
NIF polar angle θ
0
180
90
120
150
30
60
NIF azimuthal angle φ
0
180
240
300
360
60
120
120
0
60
40
20
100
80
HDC + BF campaigns

## Slide 2: Signatures of Systematic Azimuthal Asymmetry in Nuclear Diagnosis of ICF Implosions on the NIF
H. G. Rinderknecht
Velocity-corrected FNAD ~ −ρR
NIF polar angle θ
0
180
90
120
150
30
60
NIF azimuthal angle φ
0
180
240
300
360
60
120
1.1
0.9
1.0
0.95
1.05
P1/P0 = 6%
Hotspot velocity (km/s)
NIF polar angle θ
0
180
90
120
150
30
60
NIF azimuthal angle φ
0
180
240
300
360
60
120
120
0
60
40
20
100
80
91 km/s
HDC + BF campaigns
BF N180226

## Slide 3: Combining nTOF hotspot velocities and FNAD ρR maps improves understanding of stagnation asymmetry in NIF experiments
Summary
Hotspot velocity is systematically toward ɸ ~ 90˚ on recent DT cryogenic implosions
Areal-density (ρR) asymmetry amplitude and direction are correlated with hotspot velocity
Mode-1 implosion asymmetry can explain both the velocity and ρR signatures
Mode-1 drive asymmetry?
VHS
ρR
minimum
Fill tube
(7˚)
nTOF: neutron time-of-flight
FNAD: flange neutron activation diagnostics

## Slide 4: Many thanks to my collaborators:
D.T. Casey, R. Bionta, R. Hatarik, A. Moore, E. Hartouni, D. Schlossberg,
G. Grim, O. Landen, P. Patel
Lawrence Livermore National Laboratory
This work was performed under the auspices of the U.S. Department of Energy by Lawrence Livermore National Laboratory under Contract DE-AC52-07NA27344.

## Slide 5
Method: Velocity
DT- and DD-neutron spectra are sensitive to hotspot velocity: net velocity produces a Doppler shift in neutron energy
DT-neutron time-of-flight (nTOF) signal*
Each detector measures the hotspot velocity projected along its line of sight
*R. Hatarik et al., J. Appl. Phys. 118, 184502 (2015).

## Slide 6
Method: Velocity
On the NIF, DT- and DD-neutron spectra are used to measure the mean hotspot velocity on up to four nTOF lines of sight
nTOF 21m SPEC-NP (18-304)
nTOF 20m
SPEC-E (90-175)
nTOF 18m SPEC-SP (161-57)
nTOF 20m
SPEC-A (115-319)
R. Hatarik et al., Rev. Sci. Instrum. 89, 10I138 (2018).
NTOF velocities: N160207
SPEC-E
SPEC-SP
SPEC-A
0
nTOF velocities: N160207
−23 km/s
119 km/s @ (21˚,49˚)
Best Fit:
A best-fit hotspot velocity (x) and uncertainty boundary is found, using:
𝛘2 ≤ min(𝛘2) + 𝛘2limit
0
− 45 km/s
− 91 km/s
Notes: This analysis takes into account neutron upshift due to ion temperature (“Ballabio shift”).
See R. Hatarik, HTPD
[R. Hatarik, RSI 2018 (forthcoming)]

## Slide 7: Looking at a group of cryogenic DT implosions, a pattern emerges: hotspot velocity tends toward ɸ ~ 90˚ on the equator
Result #1: Velocity
Showing analyzed shots, FY16—18
HDC: 20 shots

## Slide 8: Looking at a group of cryogenic DT implosions, a pattern emerges: hotspot velocity tends toward ɸ ~ 90˚ on the equator
Result #1: Velocity
HDC: 15/20 shots
BF: 9/10 shots
CH: 4/15 shots
Showing analyzed shots, FY16—18 with V > 40 km/s
Only V > 40 km/sec

## Slide 9: Nuclear activation detectors (NADs) diagnose variations in neutron fluence due to scattering in fuel
C. Yeamans and D. Bleuel, Fusion Sci. Technol. 72, 120 (2017).
90Zr(n,2n)89Zr cross-section
Normalized flange NAD activation:
Detectors
Spherical harmonic
fit to the data (modes 1, 2)
F = 1 – dsr
∝ –ρR
Method: ρR
Notes: Asymmetric areal density (ρR) causes different neutron scattering, and thus different spectra and activation, along different lines of sight.

## Slide 10: However, a neutron energy shift from hotspot flow velocity can cause an “offset” (mode 1) in activation patterns
Mode-1 asymmetry in activation:
is this due to velocity or areal density?
ΔE ∝
VHS·r̂det
∝ –ρR
∝ VHS cos θdet
Method: ρR
F = 1 – dsr
∝ –ρR

## Slide 11: Using the mean hotspot velocity, we can correct FNAD data to infer areal-density variation (ρR)
Mode-1 amplitude, corrected
Mode-1 amplitude, uncorrected
Method: ρR
The mean hotspot velocity accounts for ~30% of FNAD mode-1 amplitude.
*see H.G. Rinderknecht et al., Rev. Sci. Instrum. 89, 10I125 (2018).
*
Corrected:
V = 119 km/s
Notes: 0.07735, 0.0407
Horiz: 8.77 – 12.03  32.6 inch / unit  8.77 + 0.07735*32.6 = 11.29”
Vert: 1.98 – 5.23  32.5 / unit  5.23 – 0.0407*32.5 = 3.91”

## Slide 12: In cryogenic implosions, the corrected FNAD mode-1 amplitude (∝ ρR asymmetry) increases linearly with hotspot velocity
Velocity (km/s)
FNAD amplitude vs velocity
Mode-1 amplitude, corrected
Result #2: ρR

## Slide 13: The residual FNAD mode-1 is in the same direction as the hotspot velocity on most shots
Result #3: direction
Bigfoot
series:
160207
119 km/s
161030
73 km/s
170109
77 km/s
170524
64 km/s
171015
49 km/s
171029
67 km/s
171119
53 km/s
180226
91 km/s
180311
72 km/s
180128
28 km/sec

## Slide 14: The residual FNAD mode-1 is in the same direction as the hotspot velocity: mean velocity and low ρR are toward ɸ = 90˚
Result #3: direction
HDC: 15/20 shots
BF: 9/10 shots
CH: 4/15 shots
Showing analyzed shots, FY16—18 with V > 40 km/s
Velocity ɸ (degrees)
Mode-1 ɸ (degrees)

## Slide 15: The following picture emerges from the data: low ρR and velocity in one direction can be caused by reduced compression on that side
V
min ρR
Interpretation

## Slide 16: The following picture emerges from the data: low ρR and velocity in one direction can be caused by reduced compression on that side
Interpretation
V
min ρR
Brian Spears P1 drive shows the same trend:
Sim: 9.8% / (100 km/s)
B. Spears et al., Phys. Plasmas 21, 042702 (2014).
Axial position (μm)
Radial position (μm)
FNAD P1/P0 vs velocity
Notes: Paul Springer dynamic 1D model

## Slide 17: The following picture emerges from the data: low ρR and velocity in one direction can be caused by reduced compression on that side
Brian Spears P1 drive shows the same trend:
Sim: 9.8% / (100 km/s)
Data: 8.6% / (100 km/s)
Interpretation
V
min ρR
Axial position (μm)
Radial position (μm)
FNAD P1/P0 vs velocity
B. Spears et al., Phys. Plasmas 21, 042702 (2014).

## Slide 18: Combining nTOF hotspot velocities and FNAD ρR maps improves understanding of stagnation asymmetry in NIF experiments
Hotspot velocity is systematically toward ɸ ~ 90˚ on recent DT cryogenic implosions
Areal-density (ρR) asymmetry amplitude and direction are correlated with hotspot velocity
Mode-1 implosion asymmetry can explain both the velocity and ρR signatures
Related talks on causes of the observed asymmetry:
A. Pak, Impact of fill tube perturbation on HDC implosions this session (BO6:2)
K. McGlinchey, Simulating radiation asymmetries and fill tubes this session (BO6:3)
R. Nora, 3D Hydra capsule studies on effect of hohlraum windows this session (BO6:4)
D. Schlossberg, Experiments with laser-driven mode-1 asymmetry this session (BO6:7)
T. Ma, Experimental investigation of mode-1 asymmetries this session (BO6:11)
C. Young, 3D radiation asymmetries using dynamic view factor model Monday pm (CO6:2)
O. Landen, Sensitivity of yield and compression to asymmetry Tuesday (GO6:5)
Summary
Mode-1 drive asymmetry?
VHS
ρR
minimum
Fill tube
(7˚)

## Slide 19: Appendix – backup slides

## Slide 20: The source of the ɸ = 90˚ asymmetry is currently under investigation
Drive asymmetries:
  Hohlraum positioning offset (X)
  2ω unconverted light asymmetry
  …
Target asymmetries:
  Fill tube (7˚): see A. Pak, this session
  Diagnostic patches: see T. Ma, this session
  …
<V>, FNADs
Interpretation
See also O. Landen, Tuesday (GO6:5):
“Sensitivity of yield and compression to velocity, shock timing, coast time and asymmetry in indirect-drive NIF implosions,”

## Slide 21: Azimuthal asymmetry is suggested by many diagnostics: we are now beginning to put together the pieces of this mode-1 puzzle
X-ray late-time images
Flange NADs
0
90
7 (FT)
315
BT -150ps
0
90
7 (FT)
315
0
90
7 (FT)
315
SpecE
SpecNP
MRS
NITOF
Down-scattered neutron ratio
(MRS, nTOF, NIS)
NTOF: R. Hatarak, et al., J. Appl. Phys. 118, 184502 (2015)
MRS: J.A. Frenje, et al., Phys. Plasmas 17, 056311 (2010)
NITOF: F. E. Merrill, et al., Rev. Sci. Instrum. 83, 10D317 (2012)
C. Yeamans & D. Bleuel,
Fusion Sci. Technol. 72, 120 (2017)
A. Pak, et al.,
Phys. Plasmas 20, 056315 (2013)
Interpretation

## Slide 22
NTOF velocities: N160207
SPEC-E
SPEC-SP
SPEC-A
Method: Velocity
On the NIF, DT- and DD-neutron spectra are used to measure mean hotspot velocity on up to four NTOFs line of sight
NTOF 21m SPEC-NP (18-304)
NTOF 20m
SPEC-E (90-175)
NTOF 18m SPEC-SP (161-57)
NTOF 20m
SPEC-A (115-319)
R. Hatarik, RSI 2018 (in press)
0
Notes: This analysis takes into account neutron upshift due to ion temperature (“Ballabio shift”).
See R. Hatarik, HTPD
[R. Hatarik, RSI 2018 (forthcoming)]

## Slide 23
Method: Velocity
SPEC-E
VSPEC-E
SPEC-SP
VSPEC-SP =
nTOF velocities: N160207
SPEC-E
SPEC-SP
SPEC-A
V: 119 ± 24 km/s
θ : 21˚ ± 13˚
ɸ : 49˚
+19˚
- 42˚
Best Fit:
On the NIF, DT- and DD-neutron spectra are used to measure mean hotspot velocity on up to four nTOF lines of sight
A single best-fit velocity (x) and uncertainty boundary is found, using:
𝛘2 ≤ min(𝛘2) + 𝛘2limit
0
Notes: This analysis takes into account neutron upshift due to ion temperature (“Ballabio shift”).
See R. Hatarik, HTPD
[R. Hatarik, RSI 2018 (forthcoming)]

## Slide 24: Uncertainties in the measurements allow a range of solutions: an envelope of “acceptable” mean velocity is calculated using a reduced 𝛘2 method
Method
DT
DD
nTOF velocities: N160207
nTOF velocities: N160207
V: 119 ± 24 km/s
θ : 21˚ ± 13˚
ɸ : 49˚
+19˚
- 42˚
Best Fit:
SPEC-E
SPEC-SP
SPEC-A
~300 points on the boundary are found
“Acceptable” velocity vectors are found near the best fit that satisfy:
This population defines uncertainties in V, θ, and ɸ.
𝛘2 ≤ min(𝛘2) + 𝛘2limit

## Slide 25: Regardless of the number of detectors, the 𝛘2 limit to contain the true velocity 68% of the time is 𝛘2limit = 3.45
5 detectors: blue
4 Existing detectors
3 detectors (No NP)
3 detectors (No A)
𝛘2 < Min(𝛘2) + 𝛘2limit
Condition defining uncertainty region in velocity space:
Value of 𝛘2limit …
…from statistical theory: 3.51
…from numerical study: 3.45 ± 0.1
Method

## Slide 26: (At least) three “perpendicular” detectors are needed: without SPEC-E or SPEC-A, sensitivity along one horizontal axis is lost
Method
SPEC-NP
SPEC-SP
to SPEC-A
SPEC-E
Velocity uncertainty boundaries (𝛘2limit = 3.45)
All
detectors
used

## Slide 27: (At least) three “perpendicular” detectors are needed: without SPEC-E or SPEC-A, sensitivity along one horizontal axis is lost
Method
SPEC-E, SPEC-A, and one other detector are needed to perform this analysis.
Velocity uncertainty boundaries (𝛘2limit = 3.45)
All
detectors
used
No
SPEC-A
No
SPEC-E
SPEC-NP
SPEC-SP
to SPEC-A
SPEC-E

## Slide 28: Looking at a group of cryogenic DT implosions, a pattern emerges: hotspot velocity tends towards ɸ ~ 90˚ on the equator.
Result #1: Velocity
Showing analyzed shots, FY16—18
HDC: 18 shots
BF: 10 shots

## Slide 29: Looking at a group of cryogenic DT implosions, a pattern emerges: hotspot velocity tends towards ɸ ~ 90˚ on the equator.
Result #1: Velocity
Showing analyzed shots, FY16—18
HDC: 18 shots
BF: 10 shots
CH: 14 shots

## Slide 30: On “antipodal” shot with imposed drive asymmetry and low ρRfuel,* velocity correction eliminates the observed FNAD asymmetry
Ti = 4.27 keV
dsr = 0.44
N171022-002-999 | km/sec | θ | ɸ
nTOF velocity | 121 [+16, -14] | 177˚ [+3,-14] | 171˚ [±180]
Velocity corrected: VHS = 121 ± 15 km/sec
b)
a)
Before correction:
P1/P0 = -4.3% ± 0.5%
After correction:
P1/P0 = -0.4% ± 0.6%
Test case
Entire FNAD mode-1 is accounted for by velocity correction, as expected.
*See D. Schlossberg, this session (BO6:7)

## Slide 31: To interpret flange NAD data, hotspot velocity must be accounted for: change in activation, fluence, and scattering
Effect | Magnitude of Activation Change
1. ΔE  activation | 2.81% cos θ / (100 km/s)
2. Kinematic ΔFluence | 0.39% cos θ / (100 km/s)
3. ΔE  scattering | 0.078% cos θ / (100 km/s) / (1 g/cm2)
TOTAL: | 3.2% cos θ / (100 km/s)
#2: Change in neutron fluence with velocity
#3: Change scattering with neutron energy
n,T cross section
Shift in activation is interpolated from ENDF:
#1: Change in activation with neutron energy
ΔE
Method: FNADs
F = 1 – dsr
∝ –ρR
For more info: H. Rinderknecht et al., Rev. Sci. Instrum. 89, 10I125 (2018).

## Slide 32: In cryogenic implosions, the corrected FNAD mode-1 amplitude (∝ ρR asymmetry) increases linearly with hotspot velocity
Result #2: ρR
High velocities (> 50 km/sec) and mode-1 amplitudes (> 4%) are observed in all campaigns.
Velocity (km/s)
FNAD amplitude vs Velocity
Mode-1 amplitude, corrected

## Slide 33: The residual FNAD mode-1 is in the same direction as the hotspot velocity: mean velocity and low ρR are toward ɸ = 90˚
Mode-1 θ (degrees)
Velocity θ (degrees)
Velocity ɸ (degrees)
Mode-1 ɸ (degrees)
Polar Direction θ
Azimuthal Direction ɸ
Result #3: direction
HDC: 18 shots
Showing analyzed shots, FY16—18

## Slide 34: The residual FNAD mode-1 is in the same direction as the hotspot velocity: mean velocity and low ρR are toward ɸ = 90˚
Velocity θ (degrees)
Velocity ɸ (degrees)
Result #3: direction
HDC: 18 shots
BF: 10 shots
Showing analyzed shots, FY16—18
Mode-1 θ (degrees)
Mode-1 ɸ (degrees)
Polar Direction θ
Azimuthal Direction ɸ

## Slide 35: The residual FNAD mode-1 is in the same direction as the hotspot velocity: mean velocity and low ρR are toward ɸ = 90˚
Velocity θ (degrees)
Velocity ɸ (degrees)
Result #3: direction
with V > 40 km/s
HDC: 14/18 shots
BF: 9/10 shots
CH: 6/14 shots
Showing analyzed shots, FY16—18
Mode-1 θ (degrees)
Mode-1 ɸ (degrees)
Polar Direction θ
Azimuthal Direction ɸ

## Slide 36: A cohesive picture of azimuthal asymmetry emerges from comparing hotspot velocity and ρR mode-1 amplitude
Future Work
Model development
Analytical model for comparing magnitude of burn-averaged <V>, ρR mode-1 (Springer)
Impact on performance
…
Test hypotheses & fix asymmetry
  Hohlraum positioning offset
  Fill tube (5 µm vs 10 µm)
  Diagnostic patches (this summer)
  2ω unconverted light asymmetry
  …
Additional diagnostic comparisons
Downscattered ratio (MRS, nTOF, NIS)
X-ray late-time images
Neutron imaging (Volegov, Casey, …)
FNAD fit
0
90
7 (FT)
315
0
90
7 (FT)
315
SpecE
SpecNP
MRS
NITOF
BT -150ps
0
90
7 (FT)
315
DSR

## Slide 37: Spherical harmonic (“Yℓm”) normalization: amplitude = (max – mean)
ℓ = 0:
a00 = 1  data = 1
ℓ = 1:
a1,-1 = 0.1 
(max – mean) = 0.1,
(mean – min) = 0.1
m = -1
m = 0
m = +1
a1,0 = 0.1 
(max – mean) = 0.1,
(mean – min) = 0.1
a1,+1 = 0.1 
(max – mean) = 0.1,
(mean – min) = 0.1
ℓ = 2:
m = -2
m = 0
m = +1
m = -1
m = +2
a2,-2 = 0.1 
(max – mean) = 0.1,
(mean – min) = 0.1
a2,-1 = 0.1 
(max – mean) = 0.1,
(mean – min) = 0.1
a2,+1 = 0.1 
(max – mean) = 0.1,
(mean – min) = 0.1
a2,+2 = 0.1 
(max – mean) = 0.1,
(mean – min) = 0.1
a2,0 = 0.1 
(max – mean) = 0.1,
(mean – min) = 0.05

## Slide 38: On conversion from FNAD variation to absolute ρRfuel:
Say any scattering removes a neutron from activation.
Then the observed activation is normalized as:
We care about ρR(θ), and σDT is nearly constant. So we can solve for ΔρR = ρR - <ρR>:
We can use the formula <ρR> = 18.8 DSR g/cm2 to get the relative variation:
This means a 10% variation in Y implies an 80—90% variation in ρR.
CAVEAT:
Neutron scattering & finite hotspot sizes inhibit direct areal density inference. Due to finite sources, FNADs cannot resolve high modes.

## Slide 39: Appendix: simple fill-tube model

## Slide 40: Velocity and FNAD data for a series of HDC implosions with 5/10µm fill tubes can test the hypothesis that fill-tube jets are causing these effects
N161030
N170226
N170524
N170601
N170821
N161023
What about fill tubes?

## Slide 41: Comparing HDC implosions with 5µm vs 10µm fill tubes: hotspot velocity is ~60 km/sec for both cases, in the direction ɸ = 90˚± 40˚
What about fill tubes?
161023
170226
170524
170601
170821
161030
161023
161030
170821
170226
170524
170601
5 µm
10 µm

## Slide 42: FNAD data tells a similar story: mode-1 asymmetry ~ 3—5%, with systematic variation in the direction of asymmetry
What about fill tubes?
161023
170226
170524
170601
170821
161030
161023
161030
170821
170226
170524
170601
5 µm
10 µm

## Slide 43: The systematic difference in asymmetry direction suggests a hypothesis: 1. All hotspots have average velocity VHS 2. 10 µm fill-tube injects a flow with velocity Vjet
What about fill tubes?
VHS
Vjet
<V> = VHS + Vjet
<V> = VHS
5 µm:
10 µm:

## Slide 44: The systematic difference in asymmetry direction suggests a hypothesis: 1. All hotspots have average velocity VHS 2. 10 µm fill-tube injects a flow with velocity Vjet
VHS = 55 km/sec toward (59˚, 61˚)
Vjet = 66 km/sec toward (118˚, 169˚)
What about fill tubes?
x data
o best model
# fit parameters: 6
# datapts: 6 x 3 = 18
Empirical status: highly speculative
VHS
Vjet
<V> = VHS + Vjet
<V> = VHS
5 µm:
10 µm:
Assuming the weight of the two features is the same, the best fit with this hypothesis is: