## LHA
LAB HAZARD ASSESSMENT (LHA)
Risk (and Examples) | ASSEMBLY AND INSTALLATION SAFETY RISKS |  | OPERATIONAL SAFETY RISKS
| Rating | Comments/Equipment Details | Rating | Comment/Equipment Details
Mechanical (Mechanical Safety Officer)
Hazardous Motion (Rotate, Reciprocate, Traverse) |  |  |  |  | Lab Hazard Assessment Instructions: 1. This checklist requires each category be rated a 0 or 1; 0 = not present, 1 = hazard will be present 2. Please list any equipment that requires specialized infrastructure (i.e. EU power; 230v, direct ventilation, special heaters or chillers) 3. Please consider two phases of work: build up and move in to the lab falls under 'assembly and installation' and thinking forward to the hazards that will be present once the lab is in operation.
Hazardous Action (Cut, Punch, Shear, Drill)
High Pressure Fluid (Gas, Liquid)
Slips, Trips, Falls, and Bumps
Elevated Weight (Falling Objects)
Incidental Loads
Material Handling (Rigging)
Extreme Temperatures (Hot Work, LN2)
Extreme Noise (> 85 dB)
Working at Heights (Ladders, Scaffolding, Ledge)
Confined Space (Reach, Access)
Ergonomics
Risk of Eye Injury (Projectiles, Flying Particles, Dust)
Inhalation (Dust, Particulate, Fumes, Silica, Asbestos)
Nitrogen supply line
House Compressed Air Line
Compressed Gas Cylinder
Vibration
Chemical (Chemical Safety Officer)
Fuel or Oxidizer
Asphyxiant
Toxic Material
Reactive/Corrosive
Appropriate Storage
New Material (SDS Review Required, Appropriate Labels)
Beryllium
Flammable
Large Quantity Chemical Processes
Electrical (Electrical Safety Officer)
High voltage
Capacitor Storage Bank
Unprotected leads / conductors
Overheating - heat load concerns
Grounding and Isolation
Magnetic Filed over 5 gauss
Lasers (Laser Safety Officer)
All lasers are in laser inventory with the safety officer
Eye hazard – during operation
Eye hazard – alignment mode
Open focus spot
Beam path in walkway or common area where one might place their head while doing work
Ionizing Radiation (Radiation Safety Officer)
Radioactive liquid
Radioactive solid
Radioactive gas
Loose surface radioactivity
Can become activated
Fire (Fire Safety Officer)
Wet or dry suppression system
Particulate generation (affecting sprinklers)
Sprinklers
Smoke, heat, or duct detectors
Emergency shut offs
Appropriate extinguishers
Fire ratings
NFPA (National Fire Protection Association) code compliance
Points of egress
LockOut – Zero Energy State (Chief Safety Officer)
Review lockout devices/method
Engineering Controls / Mitigation
Dump buttons
O2 Monitor
Magnetic Locks
Sign Offs
LLE Chief Safety Officer or Safety Manager